## Slide 1: Lenslet flatfield
Maxime Rizzo
NASA GSFC
May 2017

## Slide 2: Suggested calibrations

## Slide 3: Lenslet flatfield

## Slide 4: Suggested calibrations
Before each run:
  Monochromatic flat at a few wavelengths to check the calibration (will add an ’apply’ keyword to apply or not the new calibration)
  Full broadband flat
    Inspect the residuals of the full broadband flat, make sure they are <5-10% and homogeneous across entire dark hole
    Will add manual adjustment of wavelength calibration